Best Management Practice (BMPs) Checklist for

Fats, Oils and Grease (FOG) Reduction

Below is a checklist of accepted methods to reduce FOG. We encourage your facility to put these guidelines into practice to help keep you in compliance with our ordinances and to save your establishment money in plumbing bills and fines.  The Required section are what our inspectors will look for when visiting your establishment. The Optional section are suggestions to make compliance easier.

Required BMPs:

- Have the grease interceptor serviced and maintained on a regular basis for proper functioning. Make sure it is pumped, cleaned and inspected for broken parts.

- Keep manifests and service logs from you grease contractor on site for a minimum of 3 years.

- Keep all outside oil bins and dumpsters covered and away from storm drains.

- Keep all areas around dumpsters and oil bins clean of spills and trash.

- Clean up spills with absorbent pads, towels, oil dry, or kitty litter and dispose of it in the trash.

- Keep all Safety Data Sheets posted and accessible for employees and inspectors.

- Do not dispose of mop water or wash water outside.

- Do not wash any equipment or dishes outside.

Optional BMPs:

- Conduct employee training upon hire and annually. Train them on:

  - Ways to reduce FOG.

    - Scrape and wipe all plates, utensils, and pots and pans.

    - Dry sweep floors before mopping.

    - Use screens on floor and sink drains to stop solids from entering the system.

    - Don’t use garbage disposals.

  - Why it’s not good for FOG to go in the sanitary sewer system or the storm sewer system.

  - How interceptors function to remove FOG.

- Post informational signs at the sink, trash cans and dish stations.

- If contractors perform power washing or other services that have the potential to pollute inform them of your Best Management Practices and how not to pollute when preforming work.

By implementing the action items above you can reduce your impact on the environment and help us and your establishment stay in compliance with the permit issued to the City of Claremore. We will be visiting all food service establishments periodically to ensure compliance with our ordinance. We, the City of Claremore, are here to help make sure that we all have safe, clean water. We are also willing to come to your establishment to provide training if requested. If you have any questions please feel free to contact Julie Monnot at jmonnot@claremorecity.com or by phone at 918-341-0457 ext. 285.